## extractions
extraction_id | timestamp | equipment_type | image_filename | fields_json | review_flags_json | status | user_email
3bb167dc-f4a5-46ac-9965-a5ddbdae2422 | 2026-04-03T17:55:10.350377 | transformer | 20260403_175505_CAP2162165947799964680.jpg | {"manufacturer": "ZHEJIANG SANAI TRANSFORMER CO.;LTD", "location": "", "country": "China", "model_no": "LZZBJ-11", "serial_no": "31074", "type": "CURRENT MEASURING INSTRUMENT", "rated_voltage_kv": "", "rated_current_primary": "15", "rated_current_secondary": "5", "ratio": "15/5", "burden_va": "5", "accuracy_class": "0.5", "frequency_hz": "50", "ins_class": "12/28/75", "weight_kg": "", "made_in": "Made in China"} | {"model_no": true, "serial_no": true, "ratio": true} | reviewed | lavanya.joga@amzur.com
a7b2d050-c609-40f4-9aa5-7f2cf1f782b5 | 2026-04-03T18:08:20.164363 | paint_label | 20260403_180808_CAP1005466770830162990.jpg | {"product_type": "Semkit Package", "product_name": "PPG Aerospace Semkit Package", "building_location": null, "cabinet_shelf": null, "shipping_status": null, "customer_internal_part_number": null, "customer_part_number_2": null, "manufacturer_name": "PPG Aerospace", "manufacturer_part_number": "PL18070606", "part_description": "SEALING AND COATING COMPOUND, CORROSION INHIBITIVE", "part_description_2": "MIL-PRF-23377 TI?-2C1GA PS 870 B-2", "upc_code": null, "specification": "MIL-PRF-23377 REV D TY II-2 CL 1 GR A", "customer_provided_specification": null, "boeing_source_approval": null, "container": "Semco 285", "unit_of_measure": null, "estimated_annual_usage": null, "min": null, "max": null, "kit_yn": null, "how_many_kit_components": null, "fill_rate": null, "ppg_part_number": "PS 870 B-2", "quantity_found": null, "batch_lot_number": "1836300?-07/18", "mfg_date": "04/18", "expiry_date": "07/18", "comments": "Shelf Life: 3 MONTHS FROM DOM/DOP WHEN STORED BELOW 80F; WARNING: Cancer and Reproductive Harm", "total_inventory": null, "extra_fields": {"PO#": "144-35", "DOP": "07/18", "Expiration Date": "04/18", "Lot N\u00b0": "1836300?-07/18", "Order Cnfm": "PL18070606", "Hand or Semco 285 Mixing": "70 strokes at 20 strokes/minute", "Machine": "Semco 388 Mixer 3 minutes at 20 strokes/minute", "Mixer": "Semco 388 P/1088/1088HD/1188HD", "SO#": "S?373", "Code": "0870B?0954SK", "Part A": "PS 870-2 Part A", "Hazard pictograms": "Skull and crossbones; Corrosion; Health hazard; Exclamation mark"}} | {"batch_lot_number": true, "manufacturer_part_number": true, "expiry_date": true, "mfg_date": true} | pending | lavanya.joga@amzur.com
a17371cc-a853-4bbc-bf72-fbc71fcfb621 | 2026-04-03T18:10:10.483508 | paint_label | 20260403_181002_CAP9049425275007547426.jpg | {"product_type": "PAINTS", "product_name": "BILUX", "building_location": null, "cabinet_shelf": null, "shipping_status": null, "customer_internal_part_number": null, "customer_part_number_2": null, "manufacturer_name": "PPG", "manufacturer_part_number": "19780801210 BLXBCTNTB603-990 BLACK", "part_description": "BLACK", "part_description_2": null, "upc_code": null, "specification": null, "customer_provided_specification": null, "boeing_source_approval": null, "container": "1L NETT", "unit_of_measure": "L", "estimated_annual_usage": null, "min": null, "max": null, "kit_yn": null, "how_many_kit_components": null, "fill_rate": null, "ppg_part_number": "BLXBCTNTB603-990", "quantity_found": null, "batch_lot_number": "E-427", "mfg_date": "05/2023", "expiry_date": null, "comments": null, "total_inventory": null, "extra_fields": {"document_type": "equipment label", "equipment_belongs_to": "paint can", "mrp": "3536.00 (incl. of all taxes)", "marketed_by": "PPG ASIAN PAINTS PVT. LTD.", "manufactured_by": "PAONA CHEMPRO PVT. LTD.", "address_1": "Plot No. 1-C, Indl. Area, MIDC, Turbhe", "address_2": "Navi Mumbai 400613", "customer_care": "For feedback/Complaints write to Customer Care", "customer_care_phone": "1800-266-8296"}} | {"batch_lot_number": true, "manufacturer_part_number": true, "mfg_date": true} | pending | lavanya.joga@amzur.com
d44a88ed-cf69-44ff-9b29-151b64ce0af0 | 2026-04-03T18:12:46.264628 | paint_label | 20260403_181238_CAP294123896041926168.jpg | {"product_type": null, "product_name": null, "building_location": null, "cabinet_shelf": null, "shipping_status": null, "customer_internal_part_number": null, "customer_part_number_2": null, "manufacturer_name": "Henkel Corporation", "manufacturer_part_number": null, "part_description": null, "part_description_2": null, "upc_code": "079340272408", "specification": null, "customer_provided_specification": null, "boeing_source_approval": null, "container": null, "unit_of_measure": null, "estimated_annual_usage": null, "min": null, "max": null, "kit_yn": null, "how_many_kit_components": null, "fill_rate": null, "ppg_part_number": null, "quantity_found": null, "batch_lot_number": null, "mfg_date": null, "expiry_date": null, "comments": "BATCH/USE BY / LOTE/USESE ANTES DE:", "total_inventory": null, "extra_fields": {"document_type": "equipment label", "country_of_origin": "Made in the U.S.A.", "warning": "Causes skin irritation. May cause an allergic skin reaction. Causes serious eye irritation. Suspected of causing cancer. May cause damage to organs through prolonged or repeated exposure.", "website": "na.henkel-adhesives.com", "phone_usa": "800-571-5100", "phone_canada": "905-814-6511", "phone_mexico": "+52.55.3300.3000", "copyright": "\u00a9 2021 Henkel and its affiliates.", "label_code": "2812394"}} | {"upc_code": true} | pending | lavanya.joga@amzur.com
dbd3f5e8-ff94-4db1-8441-aa038fbe5e80 | 2026-04-03T18:14:37.342870 | motor | 20260403_181432_CAP1279892383201356777.jpg | {"manufacturer": "TOSHIBA INTERNATIONAL CORPORATION", "location": "HOUSTON, TEXAS", "country": "U.S.A.", "model_no": null, "type": null, "form": "MKDX", "frame_no": null, "duty": null, "hp": null, "poles": null, "ins_class": null, "nema_des": null, "nema_code": null, "service_factor": null, "volts": null, "hz": null, "rpm": "1775", "amp": null, "serial_no": "A00711", "max_amb_c": null, "nom_fl_eff": null, "bearing_ls": null, "bearing_os": null, "usable_208v_amp": null, "temp_device_type": "9700K", "csa_temp_code": "T4", "hazardous_locations": "EXPLOSION PROOF"} | {"serial_no": true, "rpm": true} | pending | lavanya.joga@amzur.com
f8f9f64c-1abe-4d5c-ac29-a87717751a0c | 2026-04-03T18:15:26.943122 | paint_label | 20260403_181520_CAP8089623640395974005.jpg | {"product_type": "COATING COMPOUND ELECTRICAL INSULATING", "product_name": "PR 1428 B 2 Part B", "building_location": "", "cabinet_shelf": "", "shipping_status": "", "customer_internal_part_number": "", "customer_part_number_2": "", "manufacturer_name": "PPG Aerospace", "manufacturer_part_number": "PN 1428B002BM012PT", "part_description": "COATING COMPOUND", "part_description_2": "ELECTRICAL INSULATING", "upc_code": "", "specification": "BMS 5-37 REV K TY I CL B-2", "customer_provided_specification": "", "boeing_source_approval": "", "container": ".094 U.S. Gallon", "unit_of_measure": "", "estimated_annual_usage": "", "min": "", "max": "", "kit_yn": "", "how_many_kit_components": "", "fill_rate": "", "ppg_part_number": "PR 1428 B 2 Part B", "quantity_found": "", "batch_lot_number": "99483793-0218-2", "mfg_date": "02/18", "expiry_date": "08/18", "comments": "PO#: 136693", "total_inventory": "", "extra_fields": "{document_type: equipment label, equipment_belongs_to: paint container, Date of Packaging: 02/18, Lot No: 99483793-0218-2, Net Contents: .094 U.S. Gallon (.356L)}"} | {"batch_lot_number": true, "manufacturer_part_number": true, "expiry_date": true, "mfg_date": true} | reviewed | lavanya.joga@amzur.com
c9b4fdf2-c6b2-4b22-aa41-efdff7bcd876 | 2026-04-03T18:31:04.692962 | motor | 20260403_183057_CAP9126991358321423677.jpg | {"manufacturer": null, "location": null, "country": null, "model_no": null, "type": null, "form": null, "frame_no": null, "duty": null, "hp": null, "poles": null, "ins_class": null, "nema_des": null, "nema_code": null, "service_factor": null, "volts": null, "hz": null, "rpm": null, "amp": null, "serial_no": null, "max_amb_c": null, "nom_fl_eff": null, "bearing_ls": null, "bearing_os": null, "usable_208v_amp": null, "temp_device_type": null, "csa_temp_code": null, "hazardous_locations": null} | {} | pending | lavanya.joga@amzur.com
e333926b-6a4a-4abb-a4aa-44217cd74ca2 | 2026-04-03T18:32:36.763357 | motor | 20260403_183229_CAP4561125357558934319.jpg | {"manufacturer": null, "location": null, "country": null, "model_no": null, "type": null, "form": null, "frame_no": null, "duty": null, "hp": null, "poles": null, "ins_class": null, "nema_des": null, "nema_code": null, "service_factor": null, "volts": null, "hz": null, "rpm": null, "amp": null, "serial_no": null, "max_amb_c": null, "nom_fl_eff": null, "bearing_ls": null, "bearing_os": null, "usable_208v_amp": null, "temp_device_type": null, "csa_temp_code": null, "hazardous_locations": null} | {} | pending | lavanya.joga@amzur.com
39eb88e1-aa43-4395-8eb0-8dc88eb38955 | 2026-04-03T18:53:15.970202 | paint_label | 20260403_185308_CAP6811297254551392780.jpg | {"product_type": null, "product_name": null, "building_location": null, "cabinet_shelf": null, "shipping_status": null, "customer_internal_part_number": null, "customer_part_number_2": null, "manufacturer_name": null, "manufacturer_part_number": null, "part_description": null, "part_description_2": null, "upc_code": null, "specification": null, "customer_provided_specification": null, "boeing_source_approval": null, "container": null, "unit_of_measure": null, "estimated_annual_usage": null, "min": null, "max": null, "kit_yn": null, "how_many_kit_components": null, "fill_rate": null, "ppg_part_number": null, "quantity_found": null, "batch_lot_number": null, "mfg_date": null, "expiry_date": null, "comments": null, "total_inventory": null, "extra_fields": {"visible_screen_text": "Westinghouse A.C. GENERATOR", "image_context": "photo of laptop screen displaying generator nameplate image"}} | {} | pending | lavanya.joga@amzur.com
dd70ba85-02b9-4b38-8369-e1d3837affbc | 2026-04-03T19:12:31.987778 | paint_label | 20260403_191223_CAP5942640336382819093.jpg | {"product_type": null, "product_name": null, "building_location": null, "cabinet_shelf": null, "shipping_status": null, "customer_internal_part_number": null, "customer_part_number_2": null, "manufacturer_name": null, "manufacturer_part_number": null, "part_description": null, "part_description_2": null, "upc_code": null, "specification": null, "customer_provided_specification": null, "boeing_source_approval": null, "container": null, "unit_of_measure": null, "estimated_annual_usage": null, "min": null, "max": null, "kit_yn": null, "how_many_kit_components": null, "fill_rate": null, "ppg_part_number": null, "quantity_found": null, "batch_lot_number": null, "mfg_date": null, "expiry_date": null, "comments": null, "total_inventory": null, "extra_fields": {"visible_label_type": "CURRENT MEASURING INSTRUMENT", "manufacturer_on_plate": "ZHEJIANG SANAI TRANSFORMER CO., LTD", "serial_no": "31074", "rated_current_ratio": "15/5 A", "class": "5 VA", "frequency": "50 Hz", "rated_insulation_level": "12/28/75 kV", "standard": "GB 20840.1", "date": "2023Y 01M", "plate_context": "Transformer/current transformer nameplate shown on laptop screen"}} | {} | pending | lavanya.joga@amzur.com
7162f9af-5e9d-4fc7-aeec-b856426868be | 2026-04-03T19:13:51.347434 | paint_label | 20260403_191343_CAP7522835205813760101.jpg | {"product_type": null, "product_name": null, "building_location": null, "cabinet_shelf": null, "shipping_status": null, "customer_internal_part_number": null, "customer_part_number_2": null, "manufacturer_name": "ZHEJIANG SANAI TRANSFORMER CO.,LTD", "manufacturer_part_number": "LZZBJ-11", "part_description": "CURRENT MEASURING INSTRUMENT", "part_description_2": null, "upc_code": null, "specification": null, "customer_provided_specification": null, "boeing_source_approval": null, "container": null, "unit_of_measure": null, "estimated_annual_usage": null, "min": null, "max": null, "kit_yn": null, "how_many_kit_components": null, "fill_rate": null, "ppg_part_number": null, "quantity_found": null, "batch_lot_number": null, "mfg_date": "2012Y 11M", "expiry_date": null, "comments": null, "total_inventory": null, "extra_fields": {"document_type": "nameplate", "equipment_type": "current transformer", "brand": "ZH", "rated_current_ratio": "15/5", "serial_no": "31074", "accuracy_class": "0.5", "class": "5", "va": "5", "frequency": "60", "rated_insulation_level": "12/28/75KV", "standard_code": "GB20840.4", "1s_thermal_current": "11.5KA", "rated_dynamic_stability_current": "31.75KA", "made_in": "China", "model_suffix": "11"}} | {"manufacturer_part_number": true, "mfg_date": true} | pending | lavanya.joga@amzur.com
c292ba63-deb0-452a-87ff-eb4b1094d9bf | 2026-04-03T19:14:56.954824 | transformer | 20260403_191452_scaled_9380.jpg | {"manufacturer": "ZHEJIANG SANAI TRANSFORMER CO.,LTD", "location": null, "country": "China", "model_no": "LZZBJ-11", "serial_no": "31074", "type": "CURRENT MEASURING INSTRUMENT", "rated_voltage_kv": "12/28/75", "rated_current_primary": "15", "rated_current_secondary": "5", "ratio": "15/5", "burden_va": "5", "accuracy_class": "0.5", "frequency_hz": "50", "ins_class": null, "weight_kg": null, "made_in": "China"} | {"model_no": true, "serial_no": true, "ratio": true} | pending | lavanya.joga@amzur.com
83b5985d-672d-4f05-b168-fb35f9a8daca | 2026-04-03T19:24:02.717002 | paint_label | 20260403_192352_0_CAP7924544042526079385.jpg | {"product_type": "Paint Label", "product_name": "PR 1428 B 2 Part B", "building_location": "", "cabinet_shelf": "", "shipping_status": "", "customer_internal_part_number": "", "customer_part_number_2": "", "manufacturer_name": "PPG Aerospace", "manufacturer_part_number": "1428B002BM012PT", "part_description": "COATING COMPOUND ELECTRICAL INSULATING", "part_description_2": "", "upc_code": "079340272408", "specification": "BMS 5-37 REV K TY I CL B-2", "customer_provided_specification": "", "boeing_source_approval": "", "container": ".094 US Gallon (.355L)", "unit_of_measure": "", "estimated_annual_usage": "", "min": "", "max": "", "kit_yn": "", "how_many_kit_components": "", "fill_rate": "", "ppg_part_number": "PR 1428 B 2 Part B", "quantity_found": "", "batch_lot_number": "99483793-0218-2", "mfg_date": "02/18", "expiry_date": "08/18", "comments": "PO#: 136693", "total_inventory": "", "extra_fields": "{brand: Loctite, hazard_warning: WARNING: Causes skin irritation. May cause an allergic skin reaction. Causes serious eye irritation. Suspected of causing cancer. May cause damage to organs through prolonged or repeated exposure., manufacturer_exported_by: Henkel Corporation, made_in: Made in the U.S.A., barcode_number: 0 79340 27240 8, henkel_item_number: 2812394, website: henkel-adhesives.com}"} | {"batch_lot_number": true, "upc_code": true, "manufacturer_part_number": true, "expiry_date": true, "mfg_date": true} | reviewed | lavanya.joga@amzur.com
48734a1d-ac3f-4a0d-b404-dc50c4779f2d | 2026-04-03T19:34:17.440748 | generator | 20260403_193411_CAP8843448292479561068.jpg | {"manufacturer": null, "location": null, "country": null, "model_no": null, "serial_no": null, "type": null, "frame": null, "kva": null, "kw": null, "volts": null, "amp": null, "hz": null, "rpm": null, "phase": null, "power_factor": null, "ins_class": null, "duty": null, "excitation_volts": null, "excitation_amps": null, "bearing_type": null, "weight_kg": null, "made_in": null} | {} | pending | lavanya.joga@amzur.com
a4484e34-d298-4206-a46b-2c6360bf3502 | 2026-04-03T19:56:41.861485 | transformer | 20260403_195636_CAP8057385410119270868.jpg | {"manufacturer": "ZHEJIANG SANAI TRANSFORMER CO.,LTD", "location": null, "country": "China", "model_no": "LZZBJ-13", "serial_no": "31074", "type": "CURRENT MEASURING INSTRUMENT", "rated_voltage_kv": "12/28/75", "rated_current_primary": "15", "rated_current_secondary": "5", "ratio": "15/5", "burden_va": "5", "accuracy_class": "0.5", "frequency_hz": "50", "ins_class": null, "weight_kg": null, "made_in": "China"} | {"model_no": true, "serial_no": true, "ratio": true} | reviewed | lavanya.joga@amzur.com